# Standard Operating Procedure: BAM Provisioning

# Initial Steps

  - Open the Telemetry Provisioning Form (Responses) submitted by FST: Telemetry Provisioning Form (Responses)

# Company Verification

  - If it is a new company, create the Company Name & Site in the BAM dashboard. For existing companies, ensure the details match ALTO name and address (unless it is MB/DOL).

# Form Filling and Required Fields

  - In the BAM Dashboard, navigate to the Admin Menu and select BAM Provisioning to load the 4-step form.

  - Fill out the asset type and ensure all required (*) fields are completed, including:

    - Tank Serial #

    - National Board #

    - Tank Code

    - Tank Mfg.

    - Asset Type

    - Product Type

    - Tank Capacity

    - Reporting units (e.g., in H20 or lbs)

    - FTC (if known)

    - Tank Dispatcher

    - Telemetry Type

    - BAM Barcode & Phone #

    - CH1, Ch2, or Both

# ALTO Configuration

  - Add important info: Tank Type (Bulk, Microbulk, Ground Storage, etc.).

  - Set Alias to the 6-digit Delivery Point code and locate the Shortname in ALTO.

  - In the ALTO Storage Tab, determine the Telemetry Type (BAM or BAM/BUDDY). If CH 2 is used, check RTU and enter the Teleflo Site (external feed from BAM) and Teleflo Variable (Tank Code).

# Alarm Setup

  - Continue to Alarm Configuration:

    - Deselect EDL alarm for BULK tanks.

    - If CO2, check critical pressure and enter 200 (ON) and 250 (OFF).

# Region & Dispatcher Selection

  - Select the appropriate Region & Dispatchers:

    - BULK (3): e.g., Mid West, AMG,

    - MICROBULK (2): e.g., Mid West, Mid West MB

# Notification Setup

  - The final step in the form is to choose the recipients who will receive alarm notifications.

# Final Completion

  - Complete the provisioning process and download the PDF Report for your records.